NSPA


Radiological Response Committee Monitoring equipment recommendations
	Equipment Name/Model
	Purpose
	# suggested
	Price each
	Total

	Thermo TPM 903 Transportable Portal Monitor
	Monitor personnel for contamination rapidly ( 3 sec. ea.for ambulatory)
	1
	$11,875.00
	$11,975.00

	Ludlum 2241-3 Scaler/Ratemeter
	Handheld instrument used to monitor radiation levels and contamination  on objects,personnel or spaces.
	2
	1095.00
	2,190.00

	Ludlum model 44-9 probe (pancake)
	Monitor low –mid level contamination on objects or personnel
	2
	190.00
	380.00

	Ludlum model 44-38 probe (hot dog)
	Monitor mid-high level contamination on objects, monitor dose rates in spaces.
	2
	195.00
	390.00

	SAIC PD 3i personal dosimeter
	Monitors dose received in format readily viewable by worker during work session
	2
	429.00
	858.00

	SAIC PDR 1 Dosimeter reader
	Record data and calibrate PD 3i
	1
	?
	?

	REMTrack Wallet Card Dosimeter
	Dosimetry to be issued to response workers to record exposure during event
	10
	17.00
	170.00

	Total
	
	
	
	$15,963.00


2/14/2006

